## User Guide
MOUNT SINAI HEALTH SYSTEM
HAZARD VULNERABILITY ANALYSIS TEMPLATE
HAZARD VULNERABILITY ANALYSIS TEMPLATE USER GUIDE 2017 version 3
YEAR: 2017 Baseline
adapted from the Kaiser Permanente 2017 HVA template
PURPOSE
Information from this user’s guide is intended to accompany the Mount Sinai Health System Hazard Vulnerability Analysis Template for hospital and non-hospital hazard vulnerability assessments. The 2017 Mount Sinai Health System Hazard Vulnerability Analysis Template was adopted from the 2017 Kaiser Permanente HVA Template.
This HVA is used to identify and rank various risk and mitigating factors related to emergency preparedness. The purpose of the HVA is to assess the capability and capacity to provide services for the community, patients, visitors or staff in the event of an emergency. Ratings are subject to user interpretation, but are designed to reflect the emergency manager's opinion on hazard/threat priorities. The 2017 version of the MSHS HVA is intended for use by hospitals and ambulatory care facilities. Conclusions of the HVA can be utilized to assess gaps in preparedness and for prioritizing projects related to emergency preparedness activities.
DESCRIPTION
The Mount Sinai Health System Hazard Vulnerability Analysis Template is an Excel workbook that is composed of seven spreadsheets (tabs). The tabs have been color coded torquoise, light blue, peach and sea green. The three torquoise colored tabs are informational and include a user guide, definitions and instructions. The pastel colored tabs are adapted from the Kaiser Permanente 2017 HVA, these pages are all linked and contain numerous algorithms and formulas.
IT IS CRITICAL THAT USERS DO NOT MODIFY THE COLUMNS AND ROWS OF ANY OF THE SPREADSHEETS. DOING SO COULD DISRUPT THE LINKS AND ALGORITHMS CAUSING COMPUTATIONAL ERRORS.
The KP HVA data collection/analysis template is built on a Microsoft Excel workbook that consists of four spreadsheets (pastel color tabs) that are linked to each other to auto-populate data cells, provide linked input data for algorithm, formula and macro calculations. The 'INPUT' (blue tab) has only one input and collects the facility name for auto-population of the three other tabs. The 'DATA' (peach tab) collects a running tally of events/incidents that occur for the evaluation year. Each row (observation) contains data fields (some are drop down menus, other are open text) that collect pertinent data that is used by the 'HAZARDS' and 'SUMMARY' spreadsheets in calculating risk and ranking hazards/threats. It is important to enter data for fields with red data field names. The "HAZARDS" (peach tab) spreadsheet now combines all hazards/threats into one sheet. Column A lists the hazards/threats in alphabetical order. Each hazard/threat is assessed for RISK (Column K) by taking the product of the sum of its weighted probability+alerts+activations multiplied by its weighted severity. The ALERTS (Column C) and ACTIVATIONS (Column D) data field are automatically populated from data entered in the correspondeing data fields in the 'DATA' (peach tab) spreadsheet. The severity is defined as the difference between magnitude minus mitigation and can be calculated by summing the 3 criteria for magnitude and the 3 criteria for mitigation. Magnitude is described by the impact level on human, property and business. Mitigation is explained by level of preparedness, internal response and external response. Each of the six criteria and probability are rated by a four point Likert scale. Probability and magnitude scales increase with increasing level while mitigation level decreases with increasing scale. The appropriate score (0-4) should be entered into the corresponding cell for which the event/incident and criteria axis intersect. The results in the 'SUMMARY' spreadsheet (green tab) are automatically computed by macros linked from the 'HAZARD' (peach tab) spreadsheet.

## Definitions
MOUNT SINAI HEALTH SYSTEM
HAZARD VULNERABILITY ANALYSIS TEMPLATE
YEAR: 2017 Baseline
DEFINITIONS
ASSESSMENT CRITERIA
Probability
The Probability column rates the event/incident’s likelihood of occurring over a defined time span with the highest scores being given to those incidents likely to occur |  | 0 = unlikely
1 = within 5 years
2 = within 3 years
3 = within 1 year
Human Impact
The Human Impact column rates the incident’s possibility of injury or death to staff or community members. |  | 0 = Injuries treatable with first aid
1 = Injuries no permanent disability
2 = Injuries with permanent disability
3 = Injuries and multiple fatalities
Property Impact
The Property Impact column rates the incident’s possibility of severely damaging the facility. Severe damage can be considered that damage that limits or eliminates a portion of the facility for operation, impacting the facility’s ability to provide care. |  | 0 = Less than 10%
1 = 10 to 24 %
2 = 25 to 49%
3 = Greater than 50%
Business Impact
The Facility Impact column rates the incident’s impact on interruption or termination of a facility’s services. Interruption of services in a facility may drastically impair the facility’s ability to provide care to patients and the community and may include the loss of equipment or personnel. |  | 0 = 24 hours or less
1 = Greater than 7 days
2 = Greater than 14 days
3 = Greater than 30 days
Preparedness
The Preparedness column rates the anticipation time for the identified incident. This criteria provides an opportunity to score how long staff and the community have to implement plans and procedures for the incident. |  | 0 = staff untrained on EM preparedness
1 = some staff trained, no equipment
2 = most staff trained, some equipment
3 = most staff trained, properly equipped
Internal Response
The Internal Response column considers three elements in concert: time/duration, planning effectiveness, and resources. Time/duration that the incident may occur impacting the facility or community needs to be considered for each event/incident and can be affected by the effectiveness of planning and availability of resources. The planning element should be based on the completeness and evaluation of a facility’s emergency operations plan(s) in addressing the incident. The resource element should consider the ready availability of organic personnel assets and the inventory and stockpiling of resources (96-hour). |  | Time
0 = Less than 6 hours
1 = 6 to 12 hours
2 = 12 to 24 hours
3 = Greater than 24 hours
Planning
0 = No CEMP/EOP
1 = CEMP/EOP partially completed
2 = CEMP/EOP completed
3 = CEMP/EOP exercised/evaluated
Because this construct is an amalgamation of three parameters it is easier to consider each parameter separately and then average the three scores and round to nearest whole number. |  | Resources
0 = No personnel assets or supplies
1 = Some personnel assets, no supplies
2 = Most personnel avail, 36hrs supplies
3 = Most personnel avail, 96hr supplies
External Response
The External Response column rates in light of the event/incident the ready availability of non-organic personnel assets and essential resupply of resources and expendables. |  | 0 = No resources available
1 = Resources available in 2 weeks
2 = Resources available in 1 week
3 = Resources available within 48 hours
HAZARDS/THREATS | DESCRIPTION OF HAZARD/THREAT
Epidemic/ Pandemic | The declared regional/global outbreak of a disease that has the potential to surge the facility
Explosion | Reported threat of an explosive device within the facility or on the facility’s campus.
Fire: Alarm Failure | The failure of the automatic fire alarm system
Fire: External | A fire external to the campus that has the potential to impact operations
Fire: Internal | Internal to the facility or campus that requires the response of the local fire department and evacuation of at least one area of the hospital.
Flood: External | Flood – High water incident caused by rupture(s) of facility water line(s), heavy rainfall, or snow melt incidents that directly impact the facility or campus.
Flood: Internal | An accumulation of water from an internal source that compromises safety and/or operations
Forensic Admission | Admission of someone in law enforcement custody for criminal activity or investigation
HazMat: CBRNE Decontamination | The arrival of individuals to the campus in need of decontamination due to contact with Chemical, Biological, Radioactive, Nuclear or Explosive materials
Infectious Disease Outbreak | A condition characterized by extensive spread of an infectious disease affecting many individuals in an area or a population at the same time. This may include a reduction in available staff, strain on medical supplies, and increased patient load.
IT Outage: Applications | Failure of the facility’s primary IT applications including but not limited to the patient information system, billing system, and laboratory information system.
IT Outage: Infrastructure | Failure of the facility's database, hardware, and software resulting in significant downtime, lasting for short periods to days.
Labor Action/ Work Stoppage/ Strike | Actions by the work force that has the potential to impact operations due to inadequate staffing levels
Mass Casualty Incident | An incident that produces more patients than available resources can manage using routine procedures.
Patient Surge | The influx of patients beyond the normal influx that stresses resources
Seasonal Influenza | A contagious respiratory illness that is caused by various influenza viral strains annually.
Security Event: Armed Intruder | The presence of an armed intruder in any workspace or patient care area.
Security Event: Bomb Threat | The threat to harm patients and or staff using an explosive device that may or maynot contain hazardous materials
Security Event: Civil Unrest | A public disturbance by an assembly of three or more persons resulting in immediate danger or damage/injury to property or person of any other individual
Security Event: Hostage Situation | Any situation that results in individuals who are held against their will in a manner that impacts overall safety and opeartions
Security Event: Infant Abduction | Infant Abduction – The illegal removal of a child from the facility or department.
Spills | The uncontrolled acumulation of a substance outside its normal containment that can impact patients, visitors and/or staff safety
Supply Chain Shortage / Failure | Normal supply chain(s) have been disrupted due to an incident. Many event types may disrupt supply chain(s) including winter storms or work stoppages.
Suspicious Package / Substance | The presence of an unknown, unrecognized and/or unowned item.
Transportation Failure | A disruption of transportation services within the community that has the potential to inhibit staff's ability to report to work
Utility: Electrical Failure | Failure of primary and/or secondary electrical supply.
Utility: Elevator Failure | The lack of adequate, functional elevators to support normal operations
Utility: Fuel Shortage | The lack of adequate fuel supply to suport normal operations
Utility: HVAC Failure | Failure of the facility’s primary HVAC system, including related facility heating and cooling system.
Utility: Medical Gas Failure | Medical Gas Failure – Failure of the facility’s primary medical gas system.
Utility: Natural Gas Disruption | Lack of available Natural Gas to support normal operations
Utility: Sewer Failure | Failure of the primary sewer system that services the facility.
Utility: Steam Failure | Lack of available Steam to support normal operations
Utility: Water Failure | Failure of the primary water system that services the facility.
Utility:Medical Vacumn Failure | Medical Vacumn Failure – Failure of the facility’s primary medical vacumn system.
Utility:Power Outages | Failure of the facility's normal power supply
Utility:Telecommunications Failure | Failure of the facility’s telephone (landline, cellular) system, overhead public address or pager systems.
Utiliy: Generator Failure | Failure of the facility's generator capability to provide resilience
Utiliy: Refrigeration Failure | Failure of the facility's refrigeration system that has the ability to impact routine operations
VIP Situation | Event that includes a visit, or possible visit, to the facility of a VIP. This visit may require additional security or treating the VIP for injuries.
Water Contamination | The lack of fresh (potable) water due to contamination
Weather: Blizzard | Blizzard – A storm with dry, driving snow, strong winds, and intense cold.
Weather: Earthquake | The sudden, sometimes violent, earth movement that has the potential to cause signifigant structural damage
Weather: Hurricane | A violent storm with winds in excess of 72 mph (32 m/sec)
Weather: Ice Storm | Ice Storm – Occasions when damaging accumulations of ice are expected during freezing rain situations. Significant ice accumulations are usually accumulations of ¼" or greater.
Weather: Temperature Extremes | Extreme climate temperatures that can impact our ability to adequately maintain internal temperature and humidity, or otherwise impact operations
Weather: Tornado | A violently rotating column of air with circulation reaching the ground. This may include the direct impact of the tornado upon the facility.
Weather: Tsunami | A large sea wave that yields catastrophic damage if it makes landfall
Workplace Violence Threat | Violence against one or more employees by another employee or person of the public within the facility or on facility’s campus including active shooter scenarios.

## Instructions
MOUNT SINAI HEALTH SYSTEM
HAZARD VULNERABILITY ANALYSIS TEMPLATE
YEAR: 2017 Baseline |  | adapted from the Kaiser Permanente HVA
INSTRUCTIONS
EMERGENCY MANAGERS - MAIN CAMPUS HOSPITALS AND AMBULATORY CARE FACILITIES
STEPS
1. INPUT TAB - Enter the name of your facility
2. DATA TAB - For the 2016-2017 Year, leave blank and do not enter any data, this is the baseline year.
Starting in the 2017-2018, for each row (observation) please document every event/incident
that occurs on your campus facility by completing all of the data fields.
3. HAZARD TAB - This tab is to be completed toward the end of the yearly assessment period after
all information for the year is collected in the DATA tab. You will make subjective assessments
for each of the hazards/threats listed in Column A. When completing the data fields for this tab
please consider the guidelines below.
4. SUMMARY TAB - You do not need to enter any information for this tab, it is an automated summary
page that is linked to the other tabs.
GUIDELINES FOR COMPLETING THE HAZARDS TAB
Evaluate potential for event and response among the following categories using
the hazard specific scale.
Issues to consider for PROBABILITY (COLUMN B) include, but are not limited to:
1 | Known risk
2 | Historical data
3 | Manufacturer/vendor statistics
Issues to consider for ALERTS (COLUMN C) and ACTIVATIONS (COLUMN D):
1 | Information for columns C and D are auto-populated from data entered in the DATA tab
2 | Critical that data entered in the DATA tab is complete as possible
3 | Do not forcefully change data in Columns C and D
Issues to consider for HUMAN IMPACT (COLUMN E) include, but are not limited to:
1 | Potential for staff death or injury
2 | Potential for patient death or injury
Issues to consider for PROPERTY IMPACT (COLUMN F) include, but are not limited to:
1 | Replacement costs/expenses
2 | Cost to set up temporary replacement
3 | Repair costs/expenses
4 | Recovery time
Issues to consider for BUSINESS IMPACT (COLUMN G) include, but are not limited to:
1 | Business/Operations interruption
2 | Employees unable to report to work
3 | Customers unable to reach facility
4 | Company in violation of contractual agreements
5 | Imposition of fines and penalties or legal costs
6 | Interruption of critical supplies
7 | Interruption of services
8 | Financial impact/burden
9 | Reputation and public image
Issues to consider for PREPAREDNESS (COLUMN H) include, but are not limited to:
1 | Status of current plans
2 | Training status
3 | Frequency of drills/exercises
4 | Availability of equipment
5 | Availability of alternate sources for critical supplies
Issues to consider for INTERNAL RESOURCES (COLUMN I) include, but are not limited to:
1 | Types of supplies on hand
2 | Volume of supplies on hand
3 | Staff availability
4 | Coordination with MOB's
5 | Availability of redundant systems
6 | Resilency of internal resources to deal/cope with event/incident
Issues to consider for EXTERNAL RESOURCES (COLUMN J) include, but are not limited to:
1 | Types of agreements with community agencies
2 | Coordination with local and state agencies
3 | Coordination with proximal health care facilities
4 | Coordination with treatment specific facilities
5 | Coordination with community resources

## Input
Input
Report Year | 2017 (BASELINE)
Last Saved | Wednesday, August 23, 2017 at 11:03 AM
Report For | Enter name of hospital
Max Score | 5
Max Total Score | 18
Emergency Management
Mount Sinai Health System

## Data
Data - Enter name of hospital |  |  |  | REPORT YEAR | 2017 (BASELINE)
Date | Alert Category | Alert Type | Internal / External | Responder | Location | Address | Notification Method | Point of Contact | Command Center Activation | Patient Care Impacts | Business / Operational Impacts | Structural Impacts | Resource Request | Recovery Plan Activated | AAR | Top 5 HVA | End Date | Event Summary
Mount Sinai Health System
Emergency Management

## Hazards
Hazards - Enter name of hospital
Hazard and Vulnerability Assessment Tool |  |  | HVA REPORT YEAR |  | 2017 (BASELINE)
Naturally Occurring Events
Event |  |  |  | SEVERITY = ( MAGNITUDE - MITGATION )
| PROBABILITY | ALERTS | ACTIVATIONS | HUMAN IMPACT | PROPERTY IMPACT | BUSINESS IMPACT | PREPARED- NESS | INTERNAL RESPONSE | EXTERNAL RESPONSE | RISK | MAX SCORE
| Likelihood this will occur |  |  | Possibility of dealth or injury | Physical losses and damages | Interuption of services | Preplanning | Time, effectiveness, resources | Community/Mutual Aid staff and supplies | * Relative threat
SCORE | 0 = N/A 1 = Low 2 = Moderate 3 = High | Number of Alerts | Number of Activations | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = Low 2 = Moderate 3 = High | 0 = N/A 1 = High 2 = Moderate 3 = Low | 0 = N/A 1 = High 2 = Moderate 3 = Low | 0 = N/A 1 =High 2 = Moderate 3 = Low | 0 - 100% | Probability + 'Total Alerts + Total Activations | Rank | Alert Type
Epidemic/ Pandemic | [12 empty] | Epidemic/ Pandemic
Explosion | [12 empty] | Explosion
Fire: Alarm Failure | [12 empty] | Fire: Alarm Failure
Fire: External | [12 empty] | Fire: External
Fire: Internal | [12 empty] | Fire: Internal
Flood: External | [12 empty] | Flood: External
Flood: Internal | [12 empty] | Flood: Internal
Forensic Admission | [12 empty] | Forensic Admission
HazMat: CBRNE Decontamination | [12 empty] | HazMat: CBRNE Decontamination
Infectious Disease Outbreak | [12 empty] | Infectious Disease Outbreak
IT Outage: Applications | [12 empty] | IT Outage: Applications
IT Outage: Infrastructure | [12 empty] | IT Outage: Infrastructure
Labor Action/ Work Stoppage/ Strike | [12 empty] | Labor Action/ Work Stoppage/ Strike
Mass Casualty Incident | [12 empty] | Mass Casualty Incident
Patient Surge | [12 empty] | Patient Surge
Seasonal Influenza | [12 empty] | Seasonal Influenza
Security Event: Armed Intruder | [12 empty] | Security Event: Armed Intruder
Security Event: Bomb Threat | [12 empty] | Security Event: Bomb Threat
Security Event: Civil Unrest | [12 empty] | Security Event: Civil Unrest
Security Event: Hostage Situation | [12 empty] | Security Event: Hostage Situation
Security Event: Infant Abduction | [12 empty] | Security Event: Infant Abduction
Spills | [12 empty] | Spills
Supply Chain Shortage / Failure | [12 empty] | Supply Chain Shortage / Failure
Suspicious Package / Substance | [12 empty] | Suspicious Package / Substance
Transportation Failure | [12 empty] | Transportation Failure
Utility: Electrical Failure | [12 empty] | Utility: Electrical Failure
Utility: Elevator Failure | [12 empty] | Utility: Elevator Failure
Utility: Fuel Shortage | [12 empty] | Utility: Fuel Shortage
Utility: HVAC Failure | [12 empty] | Utility: HVAC Failure
Utility: Medical Gas Failure | [12 empty] | Utility: Medical Gas Failure
Utility: Natural Gas Disruption | [12 empty] | Utility: Natural Gas Disruption
Utility: Sewer Failure | [12 empty] | Utility: Sewer Failure
Utility: Steam Failure | [12 empty] | Utility: Steam Failure
Utility: Water Failure | [12 empty] | Utility: Water Failure
Utility:Medical Vacumn Failure | [12 empty] | Utility:Medical Vacumn Failure
Utility:Power Outages | [12 empty] | Utility:Power Outages
Utility:Telecommunications Failure | [12 empty] | Utility:Telecommunications Failure
Utiliy: Generator Failure | [12 empty] | Utiliy: Generator Failure
Utiliy: Refrigeration Failure | [12 empty] | Utiliy: Refrigeration Failure
VIP Situation | [12 empty] | VIP Situation
Water Contamination | [12 empty] | Water Contamination
Weather: Blizzard | [12 empty] | Weather: Blizzard
Weather: Earthquake | [12 empty] | Weather: Earthquake
Weather: Hurricane | [12 empty] | Weather: Hurricane
Weather: Ice Storm | [12 empty] | Weather: Ice Storm
Weather: Temperature Extremes | [12 empty] | Weather: Temperature Extremes
Weather: Tornado | [12 empty] | Weather: Tornado
Weather: Tsunami | [12 empty] | Weather: Tsunami
Workplace Violence Threat | [12 empty] | Workplace Violence Threat
Mount Sinai Health System
Emergency Management

## Summary
Summary For - Enter name of hospital |  |  | HVA REPORT YEAR
2017 (BASELINE)
2017 (BASELINE)
ALERT TYPE | OCCURRENCE
Command Center Activation | 0
Patient Care Impacts | 0
Business / Operational Impacts | 0
Structural Impacts | 0
Resource Request | 0
Recovery Plan Activated | 0
AAR | 0
Total Alert | 0
2017 (BASELINE) |  |  | 2017 (BASELINE)
TOP 10 HVA | RANK | OCCURRENCE | TOP 10 ACTUAL ALERTS | OCCURRENCE | HVA RANK
#N/A | 1 | #N/A |  | 0
#N/A | 2 | #N/A
#N/A | 3 | #N/A
#N/A | 4 | #N/A
#N/A | 5 | #N/A
#N/A | 6 | #N/A
#N/A | 7 | #N/A
#N/A | 8 | #N/A
#N/A | 9 | #N/A
#N/A | 10 | #N/A
Mount Sinai Health System
Emergency Management

## Detail (hidden)
Detail - Enter name of hospital
Alert Type | Actual Alert
Blank | 0
Kaiser Permanente
Emergency Management

## Calculation (hidden)
Calculation
Alert Type | Alert Type 1 | Count | Rank | Priority | Alert Type Final | Count 2
Blank | Blank | 0 | 1 | 1 | Blank | 0
Kaiser Permanente
Emergency Management

## Reference (hidden)
Reference - Enter name of hospital
Alert Type | Notification Method | Yes/No | Alert Category | Internal/External | Hazard Score
Epidemic/ Pandemic | Direct Call | Yes | Hazmat | Internal | 0
Explosion | Email | No | Human | External | 1
Fire: Alarm Failure | In Person | Not Sure | Natural | Both | 2
Fire: External | News / Media | Unknown | Technological | Other | 3
Fire: Internal | Radio |  | Other
Flood: External | Other Source
Flood: Internal | Text
Forensic Admission | Word of Mouth
HazMat: CBRNE Decontamination
Infectious Disease Outbreak
IT Outage: Applications
IT Outage: Infrastructure
Labor Action/ Work Stoppage/ Strike
Mass Casualty Incident
Patient Surge
Seasonal Influenza
Security Event: Armed Intruder
Security Event: Bomb Threat
Security Event: Civil Unrest
Security Event: Hostage Situation
Security Event: Infant Abduction
Spills
Supply Chain Shortage / Failure
Suspicious Package / Substance
Transportation Failure
Utility: Electrical Failure
Utility: Elevator Failure
Utility: Fuel Shortage
Utility: HVAC Failure
Utility: Medical Gas Failure
Utility: Natural Gas Disruption
Utility: Sewer Failure
Utility: Steam Failure
Utility: Water Failure
Utility:Medical Vacumn Failure
Utility:Power Outages
Utility:Telecommunications Failure
Utiliy: Generator Failure
Utiliy: Refrigeration Failure
VIP Situation
Water Contamination
Weather: Blizzard
Weather: Earthquake
Weather: Hurricane
Weather: Ice Storm
Weather: Temperature Extremes
Weather: Tornado
Weather: Tsunami
Workplace Violence Threat
Kaiser Permanente
Emergency Mangement

## Template (hidden)
Template
Kaiser Permanente
Emergency Management