Safety Inspection Checklist

Building Name/Location:_________________________________	Date:__________________

Inspected by:_______________________________ Building Manager:______________________

| FIRE SAFETY AND PREVENTION | Yes | No | Comments/Location |
| --- | --- | --- | --- |
| Exit lights – present and clearly illuminated |  |  |  |
| Exit door, fire doors – not wedged open, close tightly, not blocked |  |  |  |
| Emergency lighting – adequate, in working condition |  |  |  |
| Fire extinguishers -checked monthly, serviced annually |  |  |  |
| Sprinkler clearance - no storage is allowed within 18 inches of sprinkler heads (24 inches of ceiling where no sprinkler system exists) |  |  |  |
| Exits - unobstructed and kept unlocked during normal business hours or special events |  |  |  |
| Combustible materials – areas kept free of waste combustible materials |  |  |  |
| Flammable liquids – in excess of 10 gallons in flammable cabinet |  |  |  |
| Fire systems – tested, inspected annually |  |  |  |
| Storage – none beneath stairs |  |  |  |
| Fire evacuation plans – implemented and communicated to staff |  |  |  |
| Floors, Walls. Ceilings - There are no holes through walls or ceilings, and all ceiling tiles are in place penetrations in smoke barriers |  |  |  |
| PERSONAL PROTECTION |  |  |  |
| Eyewash and shower -checked weekly, inspected annually; battery charging areas |  |  |  |
| Safety glasses/goggles – available and clean |  |  |  |
| Gloves – available |  |  |  |
| Hearing protection – available, signs posted |  |  |  |
| HAZARDOUS MATERIALS |  |  |  |
| Material Safety Data Sheets – readily available |  |  |  |
| Compressed gas cylinders – properly stored and secured |  |  |  |
| Visible signage at entrances - where hazardous materials stored |  |  |  |
| SHOP AREAS |  |  |  |
| Machine Guards – in place |  |  |  |
| Machinery anchored – secure to floor |  |  |  |
| Compressed air nozzles – 30 psi or less |  |  |  |
| Warning signs posted - eye protection, hearing protection, etc. |  |  |  |
| ELECTRICAL HAZARDS |  |  |  |
| Extension cords – not used as permanent wiring. |  |  |  |
| Cords – good condition, not frayed or taped. |  |  |  |
| Extension cords and power strips – not plugged in to other extension cords or power strips. |  |  |  |
| Power strips – UL listed and have circuit breakers. |  |  |  |
| Plugs are in good condition - there are no exposed wires and the ground is not removed from 3-way plugs |  |  |  |
| Wall outlet and junction box covers - in place |  |  |  |
| Electric circuit panels - kept clear (at least 36 inches open area) |  |  |  |
| WALKING SURFACES |  |  |  |
| Aisles - kept clear (minimum 36") |  |  |  |
| Tripping hazard - carpets, rugs, and mats do not present trip hazard |  |  |  |
| Outside walkways and stairs - good repair |  |  |  |
| Stair treading - good condition |  |  |  |
| OFFICE SAFETY |  |  |  |
| File drawers - closed when not in use |  |  |  |
| Paper cutter – guard in place |  |  |  |
| Space heaters – prohibited |  |  |  |
| Wires or extension cords - do not run under carpets or rugs, through doorways, or placed in other traffic areas |  |  |  |
| GARAGE/WAREHOUSE/STORAGE AREA |  |  |  |
| Garage Doors – safety sensor works |  |  |  |
| Forklifts - Carbon Monoxide sensor installed, works for propane forklifts; certification of forklift drivers |  |  |  |
| Battery charging – eyewash and shower, apron. face shield, gloves |  |  |  |
| PROCEDURES |  |  |  |
| Lockout Procedures |  |  |  |
| Confined Space Procedures |  |  |  |
| COMMENTS |  |  |  |